{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["伽马刀及核素","射线装置明细"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"伽马刀及核素","index":0,"n_rows":41,"n_cols":8,"rows_kept":41,"merged":[[0,0,0,7],[1,2,1,3],[2,2,2,3],[3,2,3,3],[4,2,4,3],[5,2,5,3],[6,2,6,3],[7,2,7,3],[8,2,8,3],[9,2,9,3],[10,2,10,3],[11,2,11,3],[12,2,12,3],[13,2,13,3],[14,2,14,3],[15,2,15,3],[16,2,16,3],[17,2,17,3],[18,2,18,3],[19,2,19,3],[20,2,20,3],[21,2,21,3],[22,2,22,3],[23,2,23,3],[24,2,24,3],[25,2,25,3],[26,2,26,3],[27,2,27,3],[28,2,28,3],[29,2,29,3],[30,2,30,3],[31,2,31,3],[32,2,32,3],[33,2,33,3],[34,0,34,7],[35,2,35,3],[35,5,35,6],[36,2,36,3],[36,5,36,6],[37,2,37,3],[37,5,37,6],[38,2,38,3],[38,5,38,6],[39,2,39,3],[39,5,39,6],[40,2,40,3],[40,5,40,6]],"flags":["formulas_cached_only"]}
["密封放射源台账明细"]
["序号","核素名称","编码",null,"用途","活度（Bq）","类别","工作场所"]
[1,"Co-60","CA19CO002222",null,"伽马刀",{"v":7400000000000,"d":"7.40E+12"},"Ⅱ类","肿瘤科"]
[2,"Co-60","CA19CO002212",null,"伽马刀",{"v":7500000000000,"d":"7.50E+12"},"Ⅱ类","肿瘤科"]
[3,"Co-60","CA19CO002202",null,"伽马刀",{"v":7500000000000,"d":"7.50E+12"},"Ⅱ类","肿瘤科"]
[4,"Co-60","CA19CO002192",null,"伽马刀",{"v":7500000000000,"d":"7.50E+12"},"Ⅱ类","肿瘤科"]
[5,"Co-60","CA19CO002182",null,"伽马刀",{"v":7500000000000,"d":"7.50E+12"},"Ⅱ类","肿瘤科"]
[6,"Co-60","CA19CO002172",null,"伽马刀",{"v":7500000000000,"d":"7.50E+12"},"Ⅱ类","肿瘤科"]
[7,"Co-60","CA19CO002162",null,"伽马刀",{"v":7500000000000,"d":"7.50E+12"},"Ⅱ类","肿瘤科"]
[8,"Co-60","CA19CO002152",null,"伽马刀",{"v":7500000000000,"d":"7.50E+12"},"Ⅱ类","肿瘤科"]
[9,"Co-60","CA19CO002142",null,"伽马刀",{"v":7600000000000,"d":"7.60E+12"},"Ⅱ类","肿瘤科"]
[10,"Co-60","CA19CO002132",null,"伽马刀",{"v":7600000000000,"d":"7.60E+12"},"Ⅱ类","肿瘤科"]
[11,"Co-60","CA19CO002122",null,"伽马刀",{"v":7500000000000,"d":"7.50E+12"},"Ⅱ类","肿瘤科"]
[12,"Co-60","CA19CO002112",null,"伽马刀",{"v":7500000000000,"d":"7.50E+12"},"Ⅱ类","肿瘤科"]
[13,"Co-60","CA19CO002102",null,"伽马刀",{"v":7600000000000,"d":"7.60E+12"},"Ⅱ类","肿瘤科"]
[14,"Co-60","CA19CO002092",null,"伽马刀",{"v":7600000000000,"d":"7.60E+12"},"Ⅱ类","肿瘤科"]
[15,"Co-60","CA19CO002082",null,"伽马刀",{"v":7500000000000,"d":"7.50E+12"},"Ⅱ类","肿瘤科"]
[16,"Co-60","CA19CO002072",null,"伽马刀",{"v":7500000000000,"d":"7.50E+12"},"Ⅱ类","肿瘤科"]
[17,"Co-60","CA19CO002062",null,"伽马刀",{"v":7500000000000,"d":"7.50E+12"},"Ⅱ类","肿瘤科"]
[18,"Co-60","CA19CO002052",null,"伽马刀",{"v":7500000000000,"d":"7.50E+12"},"Ⅱ类","肿瘤科"]
[19,"Co-60","CA19CO002042",null,"伽马刀",{"v":7500000000000,"d":"7.50E+12"},"Ⅱ类","肿瘤科"]
[20,"Co-60","CA19CO002032",null,"伽马刀",{"v":7500000000000,"d":"7.50E+12"},"Ⅱ类","肿瘤科"]
[21,"Co-60","CA19CO002022",null,"伽马刀",{"v":7500000000000,"d":"7.50E+12"},"Ⅱ类","肿瘤科"]
[22,"Co-60","CA19CO002012",null,"伽马刀",{"v":7500000000000,"d":"7.50E+12"},"Ⅱ类","肿瘤科"]
[23,"Co-60","CA19CO002002",null,"伽马刀",{"v":7500000000000,"d":"7.50E+12"},"Ⅱ类","肿瘤科"]
[24,"Co-60","CA19CO001992",null,"伽马刀",{"v":7500000000000,"d":"7.50E+12"},"Ⅱ类","肿瘤科"]
[25,"Co-60","CA19CO001982",null,"伽马刀",{"v":7500000000000,"d":"7.50E+12"},"Ⅱ类","肿瘤科"]
[26,"Co-60","CA19CO001972",null,"伽马刀",{"v":7500000000000,"d":"7.50E+12"},"Ⅱ类","肿瘤科"]
[27,"Co-60","CA19CO001962",null,"伽马刀",{"v":7500000000000,"d":"7.50E+12"},"Ⅱ类","肿瘤科"]
[28,"Co-60","CA19CO001952",null,"伽马刀",{"v":7500000000000,"d":"7.50E+12"},"Ⅱ类","肿瘤科"]
[29,"Co-60","CA19CO001942",null,"伽马刀",{"v":7500000000000,"d":"7.50E+12"},"Ⅱ类","肿瘤科"]
[30,"Co-60","CA19CO001932",null,"伽马刀",{"v":7500000000000,"d":"7.50E+12"},"Ⅱ类","肿瘤科"]
[31,"Sr-90","0097SR870585",null,"服帖器",{"v":1000000000,"d":"1.00E+09"},"Ⅴ类","核医学科"]
[32,"Sr-90","0097SR870575",null,"服帖器",{"v":1940000000,"d":"1.94E+09"},"Ⅴ类","核医学科"]
["非密封放射性物质台账明细"]
["序号","核素名称","日等效最大操作量",null,"年最大用量","使用频次",null,"批准文号"]
[null,null,"（贝可）",null,"（贝可）"]
[1,"I-131",{"v":185000000,"d":"1.85E+08"},null,{"v":4625000000000,"d":"4.63E+12"},"24次/6个月",null,"云环辐审[2018]0084号"]
[2,"Sr-89",{"v":1850000,"d":"1.85E+06"},null,{"v":888000000,"d":"8.88E+08"},"36次/6个月",null,"云环辐审[2018]00850号"]
[3,"Mo-99(Tc-99m)",{"v":37000000,"d":"3.70E+07"},null,{"v":9250000000000,"d":"9.25E+12"},"24次/6个月",null,"云环辐审[2018]0084号"]
[4,"I-125",null,null,{"v":9240,"d":"9.24E+03"},"1次/1个月",null,"豁免"]

{"sheet":"射线装置明细","index":1,"n_rows":42,"n_cols":9,"rows_kept":42,"merged":[[0,0,0,8],[37,0,37,8]],"flags":["formulas_cached_only"]}
["现有射线装置台账"]
["序号","装置名称","规格型号","类别","管电压","管电流","用途","工作场所","装置状态"]
["1","Infinia Hawkeye4 SPE-CT_InfiniaHawkeye4SPE-CT","InfiniaHawkeye4","Ⅲ类","150 kV","200 mA","医用X射线计算机断层扫描（CT）装置","核医学科 ：7号楼一楼核医学科spect机房","在用"]
[2,"prodigy8743 骨密度仪_prodigy8743骨密度仪","prodigy8743","Ⅲ类","120 kV","25 mA","医用诊断X射线装置","放射科 ：6号楼负一楼骨密度检查室","在用"]
["3","Digital Diagnost TH/VR DR机_DigitalDiagnostTH/VRDR机","DigitalDiagnostTH/VR","Ⅲ类","150 kV","500 mA","医用诊断X射线装置","放射科 ：6号楼负一楼放射摄片3室","在用"]
["4","Aristos Fx plus DR机_AristosFxplusDR机","AristosFxplus","Ⅲ类","150 kV","500 mA","医用诊断X射线装置","放射科 ：6号楼负一楼放射摄片5室","在用"]
[5,"Ysio DR机_YsioDR机","Ysio","Ⅲ类","150 kV","500 mA","医用诊断X射线装置","放射科 ：7号楼一楼放射摄片2室","在用"]
["6","GMM( SYNTHESIS) DR机_GMM(SYNTHESIS)DR机","GMM(SYNTHESIS)","Ⅲ类","150 kV","500 mA","医用诊断X射线装置","放射科 ：7号楼一楼放射摄片1室","在用"]
["7","Sonialvision VERSA 数字胃肠机_SonialvisionVERSA数字胃肠机","SonialvisionVERSA","Ⅲ类","150 kV","500 mA","医用诊断X射线装置","放射科 ：7号楼一楼放射特殊检查1室","在用"]
[8,"MicroDose SI 数字乳腺机_MicroDoseSI数字乳腺机","MicroDoseSI","Ⅲ类","55 kV","40 mA","医用诊断X射线装置","放射科 ：7号楼一楼放射特殊检查3室","在用"]
[9,"siremobil compact 移动式C形臂X射线机_siremobilcompact移动式C形臂X射线机","siremobilcompact","Ⅲ类","125 kV","100 mA","医用诊断X射线装置","麻醉科:7号楼五楼麻醉科手术室","在用"]
[10,"libra 移动式C形臂X射线机_libra移动式C形臂X射线机","libra","Ⅲ类","125 kV","100 mA","医用诊断X射线装置","麻醉科 ：7号楼五楼麻醉科手术室","在用"]
[11,"HHMC-50 移动式C形臂X射线机_HHMC-50移动式C形臂X射线机","HHMC-50","Ⅲ类","125 kV","100 mA","医用诊断X射线装置","麻醉科 ：7号楼五楼麻醉科手术室","在用"]
[12,"HHMC-50 移动式C形臂X射线机_HHMC-50移动式C形臂X射线机","HHMC-50","Ⅲ类","125 kV","100 mA","医用诊断X射线装置","麻醉科:7号楼五楼麻醉科手术室","非在用"]
[13,"GE OEC Fluorostar compactD 移动式C形臂X射线机_GEOECFluorostarcompactD移动式C形臂X射线机","GEOECFluorostarcompactD","Ⅲ类","110 kV","80 mA","医用诊断X射线装置","麻醉科:7号楼五楼麻醉科手术室","在用"]
[14,"veradius C形臂X射线机_veradius移动式C形臂X射线机","veradius","Ⅲ类","120 kV","125 mA","医用诊断X射线装置","胃镜室:7号楼E区四楼消化内镜室","在用"]
[15,"AXIOM Artis dTA 平板DSA_AXIOMArtisdTA平板DSA","AXIOMArtisdTA","Ⅱ类","150 kV","1000 mA","血管造影用X射线装置","放射科:6号楼负一楼介入手术室","在用"]
[16,"Ingenuity Flex 16CT机_IngenuityFlex16CT机","IngenuityFlex16","Ⅲ类","150 kV","800 mA","医用X射线计算机断层扫描（CT）装置","放射科:7号楼一楼CT检查2室","在用"]
[17,"Brilliance ICT 256 CT机_BrillianceIct256CT机","BrillianceIct","Ⅲ类","150 kV","1000 mA","医用X射线计算机断层扫描（CT）装置","放射科:6号楼负一楼CT检查1室","在用"]
[18,"Brilliance 16CT机_Brilliance16CT机","Brilliance16","Ⅲ类","150 kV","800 mA","医用X射线计算机断层扫描（CT）装置","放射科:6号楼一楼CT检查2室","在用"]
[19,"Artis zEE ceiling 平板DSA_Artis zEE ceiling 平板DSA","Artis zEE ceiling","Ⅱ类","150 kV","1000 mA","血管造影用X射线装置","心内科:7号楼一楼介入手术室","在用"]
[20,"UNIQFD 20平板DSA_UNIQFD 20平板DSA","UNIQFD 20平板DSA","Ⅱ类","125 kV","1250 mA","血管造影用X射线装置","手术室:7号楼五楼30间手术室","在用"]
[21,"Sonialvision VERSA 数字胃肠机_Sonialvision VERSA 数字胃肠机","Sonialvision VERSA","Ⅲ类","150 kV","500 mA","医用诊断X射线装置","放射科:7号楼一楼放射特殊检查2室","在用"]
[22,"hy-430 DR机_医用X射线摄片机","HY-450","Ⅲ类","150 kV","500 mA","医用诊断X射线装置","放射科:6号楼放射科第二摄片室","非在用"]
[23,"移动X光机_数字化移动式摄影X射线机","Modulo Easy 30","Ⅲ类","125 kV","250 mA","医用诊断X射线装置","放射科：院内移动使用","在用"]
[24,"移动X光机_数字化移动式摄影X射线机","TMB300R","Ⅲ类","125 kV","220 mA","医用诊断X射线装置","放射科：院内移动使用","在用"]
[25,"移动X光机_数字化移动式摄影X射线机","TMB 300R","Ⅲ类","125 kV","220 mA","医用诊断X射线装置","放射科：院内移动使用","在用"]
[26,"直线加速器_直线加速器","infinity","Ⅱ类","-","-","粒子能量小于100兆电子伏的医用加速器","肿瘤科直线加速器机房","在用"]
[27,"移动X光机_Mobieye 700A","Mobieye 700A","Ⅲ类","150 kV","500 mA","医用诊断X射线装置","放射科：院内移动使用","在用"]
[28,"移动X光机_Mobieye 700A","Mobieye 700A","Ⅲ类","150 kV","500 mA","医用诊断X射线装置","放射科：院内移动使用","在用"]
[29,"移动X光机_plx5200","plx5200","Ⅲ类","150 kV","500 mA","医用诊断X射线装置","7号楼五楼ICU移动使用","在用"]
[30,"移动X光机_Mobieye 700A","Mobieye 700A","Ⅲ类","150 kV","500 mA","医用诊断X射线装置","放射科：院内移动使用","在用"]
[31,"移动X光机_Mobieye 700","Mobieye 700","Ⅲ类","150 kV","500 mA","医用诊断X射线装置","放射科：院内移动使用","在用"]
[32,"CT_Aquilion ONE","TSX-301C","Ⅲ类","150 kV","800 mA","医用X射线计算机断层扫描（CT）装置","放射科：7号楼一楼CT机房","在用"]
[33,"震波碎石机_深圳惠康","ESWL-Vm","Ⅲ类","150 kV","500 mA","医用诊断X射线装置","6号楼负一楼震波碎石机房","在用"]
[34,"CT_16排CT","Brilliance16","Ⅲ类","150 kV","800 mA","医用X射线计算机断层扫描（CT）装置","放射科：7号楼一楼CT机房","在用"]
[35,"CT_三星","NL-4000","Ⅲ类","125 kV","120 mA","医用诊断X射线装置","7号楼五楼ICU移动CT机房","在用"]
["本年度拟新增射线装置统计表"]
["序号","装置名称","规格型号","类别","用途","管电压（kV）","管电流(mA)","工作场所","批准文号"]
[1,"车载CT","Scintcare778 Honor","Ⅲ","医用X射线计算机断层扫描（CT）装置",140,200,"院内停车场移动使用","202153010200000000"]
[2,"DR"," HK.UROT-I","Ⅲ","医用诊断X射线装置",150,630,"7号楼五楼手术室第25间","202153010200000000"]
[3,"大孔径CT","big bore","Ⅱ","医用X射线计算机断层扫描（CT）装置",140,500,"6号楼负1楼大孔径CT机房","202253010200000041"]