{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":9,"n_cols":17,"rows_kept":9,"merged":[[0,0,0,19],[1,0,1,19],[2,0,2,1],[2,2,2,3],[2,4,2,5],[2,6,2,7],[2,8,2,9],[2,10,2,11],[2,12,2,13],[2,14,2,15],[2,16,2,17],[2,18,2,19],[3,0,4,1],[3,2,4,19],[5,0,5,1],[5,2,5,19],[6,0,6,1],[6,2,6,7],[6,8,6,9],[6,10,6,11],[6,12,6,13],[6,14,6,15],[6,16,6,17],[6,18,6,19],[7,0,7,1],[7,2,7,7],[7,8,7,9],[7,10,7,11],[7,12,8,13],[7,14,8,15],[7,16,7,17],[7,18,7,19],[8,0,8,1],[8,2,8,11],[8,16,8,17],[8,18,8,19]],"flags":["formulas_cached_only"]}
["昆明医科大学第二附医院"]
["外协维修设备费用谈判确定表"]
["使用科室",null,"心血管内科一病区",null,"设备名称",null,"主动脉内球囊反搏泵",null,"型号",null,"AUTO CAT2(IAP-0400)",null,"品 牌",null,"美国ARROW",null,"序列号"]
["谈判原因",null,"主板或电源模块损坏"]
[]
["解决办法",null,"更换主板或电源模块"]
["乙方公司（签章）",{"$nulls":7},"负责人",{"$nulls":3},"一次报价",{"$nulls":3},"保修期"]
["二次报价",{"$nulls":7},"保修期",{"$nulls":3},"公司谈判人签名",{"$nulls":3},"电 话"]
["其他服务",{"$nulls":15},"日 期"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}